Part 1: Hardware introduction

- Device hardware connection outline (hardware figure)

- Related connecting warning/error message meaning & solution

- Transducers specification

Part 2: Software and the system

- User guide, document from the company, Matlab files summary and stored data introduction (e.g., the reconstructed reference imaging scan and the HIFU plan parameters)

- GUI (burst parameters, steering focus selection and image modality) (GUI start-up and operation choice for user – in introduction)

- Common running error/warning message (which likely to cause a crash – in error message)

Part 3: Imaging control

- Imaging modalities introduction

- Imaging parameters

- Coordination of large pairing (confirmation from the manufacturer)

- Different modalities 3D reconstruction accuracy (e.g., sensor holder image: accuracy of the object in 3D calibration)

Part 4: HIFU Control and parameter range

- Feasible parameters (which combination could run by the system and without a large number of short duration error for events)

- Specific check for any required application parameters in future by the user (e.g., with sensor for the transmit efficiency check, steering precision, whether the burst is reproducible, the pressure detected at the aimed location), additional test for validity

Part 5: Steering capability

**possible test after once the coordination problem is solved and calibration is done

- 3D steering transducer:

- with film: test with a xz-plane and an yz-plane

- with sensor: the edge steering check; precise point steering

- 1D steering transducer:

- with film: the feasible axial (depth) steering range

- with sensor: the beam delivering efficiency at different depth

** the film working parameters need to be found (tested up to 0.3 Hz, 3000 ms, 20 burst, only bubble attached but no changing colour)

- Refer to the actual steered treatment outcome (e.g., lesion depth and area)

- (Add sensor steering test result and data)

**other factors might affect the absorption in tissue, not solely on the accuracy of steering

Part 6: HIFU application experiment data

- Lesion test result (focus on 1D steering, H-106 transducer as there is no problem of matching of the therapy coordination)

- Further experiment data could be added on in future, any application fall in the feasible parameter range of this system (where both the focus depth/steering region requirement and acoustic pressure/intensity could be achieved by this system)

Other work:

- Include a short summary at beginning of each file

- Figures in user guidance

- Lesion for large pairing

- File summary (with p.s.)